## Instrument inventory
Gas monitoring kit, inventory and calibration schedule
Maintained by Martha Glass. Shared across Reykjanes, Katla, and EU-VGAS work.
Asset ID | Instrument | Serial | Location | Last calibration | Next due | Status
IGI-001 | DOAS UV spectrometer | DOAS-EM27-2208 | Gas lab, ÍJE | 2025-11-18 | 2026-11-18 | In service
IGI-002 | MultiGAS unit | MG-IGI-0451 | Out for service (IVO) | 2025-01-14 | 2027-01-15 | At vendor
IGI-003 | Drone gas sensor payload A | DR-GAS-0091 | Field store | 2025-10-22 | 2026-10-22 | In service
IGI-004 | Drone gas sensor payload B | DR-GAS-0092 | Field store | 2025-11-02 | 2026-11-02 | In service
IGI-005 | Portable weather station | WX-PT-2207 | Field store | 2025-12-01 | 2026-12-01 | In service
IGI-006 | Garmin inReach satellite unit | GIR-55821 | Field kit | 2025-12-10 | 2027-01-10 | In service
IGI-007 | Field laptop, ThinkPad X1 | PF3K8R2L | With M. Glass | n/a | n/a | In service
IGI-008 | SO2 reference cell set | REF-SO2-14 | Gas lab, ÍJE | 2025-11-18 | 2026-11-18 | Reference
Note | Detail
Sharing constraint | Fleet is shared, plan ahead for parallel campaigns
Service in progress | MultiGAS shipped to IVO Catania for recalibration
Owner | Martha Glass, martha.glass@ije.is