Water Heater Comparison Notes

Side job with Mike, February 2026

Customer: Davis residence, Lisle

Option A: Rheem Performance Plus 50-Gallon Electric

Home Depot price: $649.00

Warranty: 12-year tank, 2-year parts

Electrical: 240V, 4500W elements (dual)

Energy Factor: 0.93 UEF

First Hour Rating: 67 gallons

Notes: Installed one of these at Henderson's place last February. No callbacks, customer is happy. Self-cleaning inlet design. Brass drain valve. Push-button reset on thermostat.

Option B: AO Smith Signature 100 50-Gallon Electric

Home Depot price: $579.00

Warranty: 6-year tank, 1-year parts

Electrical: 240V, 4500W elements (dual)

Energy Factor: 0.92 UEF

First Hour Rating: 62 gallons

Notes: Cheaper by $70 but half the warranty. Plastic drain valve. No self-cleaning feature. Mike has seen a few of these leak at the valve after 3 to 4 years.

Recommendation:

Go with the Rheem. The $70 difference is worth the 12-year warranty alone. Better build quality, brass valve, and I already know the install is clean. Customer agreed.