## Index
Chandler Electric LLC - Supplier Quotes Q4 2026
Sheet | Contents
Solar_PV | 15 line items for the 8.4 kW residential reference install, Brewster Electric, valid through 2026-10-21
General_Electrical | 26 line items for the Bay View Historic Home rewire, including HPC-compliant oil-rubbed bronze EMT and satin-brass toggles
Notes
1 | Quote validity windows drive ordering sequence. Confirm bronze EMT count by 2026-10-19 to hit the November 2 rewire start.
2 | Solar quote sheet expires October 21, 2026. Re-quote required after that.
3 | Galvanized EMT and decora-style switches are NOT permitted on the 1st floor per HPC amendment 2026-09-24.

## Solar_PV
component | manufacturer | sku | unit_price_usd | uom | quote_valid_through | lead_time_business_days | supplier | quantity_tier | notes
Monocrystalline PV panel 400W | Qcells | QPEAK-DUO-G10-400 | 212.4 | each | 2026-10-21 | 7 | Brewster Electric | 2049-01-01 | 8.4 kW reference array uses 21 panels
Monocrystalline PV panel 400W | Qcells | QPEAK-DUO-G10-400 | 203.8 | each | 2026-10-21 | 7 | Brewster Electric | 50+ | Volume tier
String inverter 7.6 kW | Enphase | IQ8M-7.6 | 1480 | each | 2026-10-21 | 18 | Brewster Electric | 2026-04-01 | Lead time pushed since Q3
String inverter 7.6 kW | SolarEdge | SE7600H-US | 1395 | each | 2026-10-21 | 12 | Brewster Electric | 2026-04-01 | Alternative
Microinverter | Enphase | IQ8PLUS-72-M-US | 178 | each | 2026-10-21 | 18 | Brewster Electric | 1999-01-01 | One per panel
Rail rack 14ft | IronRidge | XR1000-204A | 98.5 | each | 2026-10-21 | 5 | Brewster Electric | 1999-01-01
Roof attachment - shingle | IronRidge | FF2-MILL-M1 | 16.8 | each | 2026-10-21 | 5 | Brewster Electric | 1999-01-01 | 16 per typical install
Grounding lug | Burndy | KC22U | 8.4 | each | 2026-10-21 | 5 | Brewster Electric | 1999-01-01
DC disconnect 60A | Eaton | DG222NRB | 148 | each | 2026-10-21 | 7 | Brewster Electric | 2026-09-01
AC disconnect 60A | Eaton | DH362NRK | 182 | each | 2026-10-21 | 7 | Brewster Electric | 2026-09-01
PV wire 10AWG (per ft) | Service Wire | USE-2-10BLK | 1.18 | foot | 2026-10-21 | 3 | Brewster Electric | 1-999 | Typical install 600 ft
EMT conduit 3/4in (per ft) | Allied | EMT-075 | 1.42 | foot | 2026-10-21 | 3 | Brewster Electric | 1-999 | Typical install 80 ft AC side
Production meter | Itron | CL200-PROD | 165 | each | 2026-10-21 | 7 | Brewster Electric | 2026-09-01
System monitoring (Enphase Envoy) | Enphase | IQ-COMBINER-4 | 612 | each | 2026-10-21 | 18 | Brewster Electric | 2026-09-01
Permit fees and engineering letter | Various | N/A | 485 | lot | 2026-12-31 | N/A | Internal | 1 | Standard residential WI permit + PE stamp

## General_Electrical
component | manufacturer | sku | unit_price_usd | uom | quote_valid_through | lead_time_business_days | supplier | notes
EMT conduit 1/2in oil-rubbed bronze | Wheatland | EMT-050-ORB | 4.85 | foot | 2026-10-21 | 12 | Brewster Electric | Historic-permit compliant for 1st floor visible runs
EMT conduit 3/4in oil-rubbed bronze | Wheatland | EMT-075-ORB | 6.2 | foot | 2026-10-21 | 12 | Brewster Electric | Historic-permit compliant
EMT conduit 1/2in galvanized | Allied | EMT-050 | 1.18 | foot | 2026-10-21 | 3 | Midwest Conduit | NOT permitted on 1st floor visible runs per HPC amendment 09/24/2026
EMT conduit 3/4in galvanized | Allied | EMT-075 | 1.42 | foot | 2026-10-21 | 3 | Midwest Conduit | NOT permitted on 1st floor visible runs per HPC amendment
Romex 12-2 NM-B (per ft) | Southwire | 12-2-NMB | 0.78 | foot | 2026-10-21 | 3 | Brewster Electric | Standard for hidden runs
Romex 14-2 NM-B (per ft) | Southwire | 14-2-NMB | 0.62 | foot | 2026-10-21 | 3 | Brewster Electric
Romex 12-3 NM-B (per ft) | Southwire | 12-3-NMB | 1.12 | foot | 2026-10-21 | 3 | Brewster Electric
Old-work junction box (single gang) | Carlon | B118A-UPC | 3.2 | each | 2026-10-21 | 3 | Brewster Electric | For fish-behind installs per HPC amendment
Old-work junction box (double gang) | Carlon | B232A-UPC | 5.4 | each | 2026-10-21 | 3 | Brewster Electric
Period-correct surface raceway 1ft | Wiremold | V500-ORB | 9.85 | foot | 2026-10-21 | 12 | Brewster Electric | For rooms 1A 1B and stair hall where plaster cuts prohibited
Toggle switch single-pole satin brass | Lutron | AY-600P-SB | 28.4 | each | 2026-10-21 | 7 | Brewster Electric | Only approved switch finish on 1st floor per HPC
Toggle switch 3-way satin brass | Lutron | AY-603P-SB | 34.2 | each | 2026-10-21 | 7 | Brewster Electric
Decora-style switch white | Leviton | 5601-2W | 2.4 | each | 2026-10-21 | 3 | Brewster Electric | NOT approved on 1st floor per HPC
Outlet duplex tamper-resistant brass plate | Leviton | T5325-W + brass plate | 18.6 | each | 2026-10-21 | 5 | Brewster Electric
GFCI outlet 15A | Leviton | GFNT1-W | 24.8 | each | 2026-10-21 | 5 | Brewster Electric
AFCI breaker 15A | Square D | HOM115AFI | 52.4 | each | 2026-10-21 | 5 | Brewster Electric
AFCI/GFCI dual breaker 20A | Square D | HOM120DFC | 68.9 | each | 2026-10-21 | 5 | Brewster Electric
Service panel 200A 40-space | Square D | HOM4080M200PCVP | 389 | each | 2026-10-21 | 7 | Brewster Electric | Existing service to be replaced
Grounding rod 8ft copper | ERICO | 615840UPC | 28.4 | each | 2026-10-21 | 3 | Brewster Electric
Ground wire 6AWG bare copper (per ft) | Southwire | 6-BARE-CU | 2.85 | foot | 2026-10-21 | 3 | Brewster Electric
Wire nuts assortment kit | Ideal | WT5-B | 18.4 | each | 2026-10-21 | 3 | Brewster Electric
Sunroom subpanel (work held until owner returns) | Square D | HOM816L100PRBVP | 142 | each | 2026-10-21 | 7 | Brewster Electric | Do not install before Nov 20 2026 per owner note
Period-style brass cover plate single | Restoration Hardware | RH-BCP-1 | 14.2 | each | 2026-10-21 | 21 | Brewster Electric | Long lead - order by Oct 12
Period-style brass cover plate double | Restoration Hardware | RH-BCP-2 | 18.4 | each | 2026-10-21 | 21 | Brewster Electric | Long lead
LB conduit body 1/2in bronze | Crouse-Hinds | LB17-ORB | 38.8 | each | 2026-10-21 | 12 | Brewster Electric
Box extension ring | Raco | 8231 | 2.8 | each | 2026-10-21 | 3 | Brewster Electric